## Лист1
Amberjet 1200 Na (co-flow regeneration with HCl)
Silica leakage
HCl regenerant level | 115 | gm/L
Sodium to Total Cation Ratio | 55 | %
Basic leakage | 1.2716 | %
Leakage Correction Factor A | 1.1347
Silica leakage | 1.4428 | %